## Sheet1
| American College of Radiology | [5 empty] | MRI Physicist/ Scientist
| MRI Accreditation Program | [5 empty] | ACR Phantom Evaluation
Status
Facility name:
Test Date
Magnet Identification
clarkeg@uthscsa.edu
On-Screen Measurements
Sagittal Locator
1 | Length of phantom, end to end (mm)
| Slice Location #1 |  | SE 500/20 |  | SE 2000/80 |  | Site T1W series |  | Site T2W Series
2 | Resolution
3 | (1.10, 1.00, 0.90 mm)
4 | Slice thickness | Top
5 | (fwhm in mm) | Bottom
6 | Wedge (mm)
7 | Diameter (mm)
8
Slice Location #5
9 | Diameter (mm)
10
11
12
Slice Location #7
13 | Signal | Big ROI
14 | (mean only) | High
15 |  | Low
16 | Background Noise | Top
17 |  | Bottom
18 | (mean ± std dev) | Left
19 |  | Right
| Low Con Detectability | [5 empty] | Site T1W series |  | Site T2W series
21 | Slice Location #8 | 1.4%
22 | Slice Location #9 | 2.5%
23 | Slice Location #10 | 3.6%
24 | Slice Location #11 | 5.1%
Page 1
Slice Location #11
25 | Wedge (mm)
0
26 | Review Completed:
27 | Meaurements | ACR T1W |  | ACR T2W |  | Site T1W |  | Site T2W
| Slice Thickness | #DIV/0! | mm | #DIV/0! | mm | #DIV/0! | mm | #DIV/0! | mm
|  |  | ACR T1W |  | ACR T2W
| Slice Displacement | Slice #1 | 0 | mm | 0 | mm | < 5 mm ?
|  | Slice #11 | 0 | mm | 0 | mm
| Percent Integral Uniformity |  | ACR T1W |  | ACR T2W
|  |  | #DIV/0! | % | #DIV/0! | % | > 87.5% ?
| Ghosting Ratio |  | ACR T1W
|  |  | #DIV/0! |  | < 0.025?
28 | Artifacts observed: Check all that apply
Status of Scanner used for testing
1
2
3
4
5
6
7
8
9
10
Additional Comments
Qualified MRI Physicist/Scientist
Page 2
= +
= -
= -
= +
±
±
±
±
No artifacts observed
Artifact unacceptable
Excessive Ghosting
Excessive Truncation Artifacts
RF Noise/leaks
Quad Phase/DC offset
Aliasing
Geometric Distortion
Reconstruction Artifacts
Other
Yes
No
Pass
Fail

## Sheet2
Absent
Present
Fail
#DIV/0!