| Reported by (Name): | Yulong Yan, Ph.D. |
| --- | --- |
| Organization: | Digital Imaging and Communications in Medicine |
| Position Title: | WG07 RT Representative |
| Activity: | WG07 Face-to-Face Meeting |
| Meeting Dates: | 12/3/2018 –12/7/2018 |
| Meeting Location: | Sun Nuclear 3275 Suntree Blvd. Melbourne, Florida 32940 |
| Payment $: | $450.38 |
| Reasons for Attending or not Attending | After ASTRO, attended the meeting to address CPs, WG-28, sup175 and sup 177. |
| Issues from Previous Meetings or Year: | WG-28 imaging dose, they are reaching out to us and we have not decided what to do with it. Fix public comments on Sup 175. The group has decided to use parametric map to carry the payload, but we have not figured out the roadmap yet. |
| General Description of Activities of the Organization and/or Meeting: | IHE-RO Treatment record of delivery device, worked with Standard Imaging working on comments. Publication of connectathon scores, this will be distributed to vendors. Need to improve testing tool, there are use cases to review for planning committee. Rx profile is missing, what is happening, it is still under discussion. WG-07 will issue a request for IHE-RO to discuss this issue. The tech profile should have three layers (Rx layer 1, 2, 3 …). Rx profile should have something to do with physician intent, protocol, but must, target dose, fractions, delivery tech, delivery time structure, code sequence. WG-28 Imaging Dose IOD SR is not compatible with what we do. The group has decided to discard this concept. CP-RT068 New Query/Retrieve Services Christof himself will have someone talk to WG-6 for further plans. There is whitepaper in the same folder. CP_RT1665 - UPS Parameters Concept Codes for RT Treatments Uli talked to Kevin, explain RT concepts to WG-6, discussion is ongoing, we will continue to work on this proposal SSD (IHE-RO) For the time being, SSD is optional for photon beams, but it should exist for electron beams. We need to be consistent with IHE-RO profile. It is questionable ok (external is ambiguous) with 1st gen, but we need to address this issue in the 2nd gen standard. Sup 175 In reading ballot, address reading comments. There should be multiple runs in a treatment session, we are considering to group multiple anatomically solid sites in a group that can be delivered in a run (or group). Sup 177 – Dose Objects (for PC) Dose CID revised Discussed modeling of RT Dose Image, RT Dose Metric and RT Dose Sample, finalized structural scheme that is similar to multi-frame scheme, but added a library on the top level to share common info among referenced dose items. 8 uses cases ranging from single RADSET dose to multi-modality dose objects were brainstormed and postulated on Wednesday (12/5/2018), three uses cases were virtually tested and found doable. Yulong will ask Monte Carlo dose algorithm, if physical or effective or can be both. done A Dose Context UID that is shared among dose constituents servers as a unique identifier for a dose entity, defined by mentioned dose constituents that may have been represented in different forms such as different resolutions, dimensions and extensions. Worked on CP RT 131 (1st gen) Beam dose specification point is retired, we will have to check with brachytherapy group to see if they need this tag. Discussed RT DOSE METRICS Multi-energy CT SUP188 (WG-06), Yulong will read it and report back to WG-07, make a few slides on Multi-energy CT and its use in dose calculation for ion beams, Yulong will lead the TCON on this topic, invite people on this t-con, (time frame, Luiza will send out doodle) |
| Issues for AAPM: | NONE |
| Budget Request ($): | $450.38 |