| Reported by (Name): | Yulong Yan, Ph.D. |
| --- | --- |
| Organization: | Digital Imaging and Communications in Medicine |
| Position Title: | WG07 RT Representative |
| Activity: | WG07 Face-to-Face Meeting |
| Meeting Dates: | 12/3/2018 –12/7/2018 |
| Meeting Location: | Sun Nuclear 3275 Suntree Blvd. Melbourne, Florida 32940 |
| Payment $: | $450.38 |
| Reasons for Attending or not Attending | After ASTRO, attended the meeting to address CPs, WG-28, sup175 and sup 177. |
| Issues from Previous Meetings or Year: | - WG-28 imaging dose, they are reaching out to us and we have not decided what to do with it. - Fix public comments on Sup 175. - The group has decided to use parametric map to carry the payload, but we have not figured out the roadmap yet. |
| General Description of Activities of the Organization and/or Meeting: | - IHE-RO - Treatment record of delivery device, worked with Standard Imaging working on comments. - Publication of connectathon scores, this will be distributed to vendors. - Need to improve testing tool, there are use cases to review for planning committee. - Rx profile is missing, what is happening, it is still under discussion. - WG-07 will issue a request for IHE-RO to discuss this issue. The tech profile should have three layers (Rx layer 1, 2, 3 …). Rx profile should have something to do with physician intent, protocol, but must, target dose, fractions, delivery tech, delivery time structure, code sequence. - WG-28 Imaging Dose IOD SR is not compatible with what we do. The group has decided to discard this concept. - CP-RT068 New Query/Retrieve Services Christof himself will have someone talk to WG-6 for further plans. There is whitepaper in the same folder. - CP_RT1665 - UPS Parameters Concept Codes for RT Treatments Uli talked to Kevin, explain RT concepts to WG-6, discussion is ongoing, we will continue to work on this proposal - SSD (IHE-RO) For the time being, SSD is optional for photon beams, but it should exist for electron beams. We need to be consistent with IHE-RO profile. It is questionable ok (external is ambiguous) with 1st gen, but we need to address this issue in the 2nd gen standard. - Sup 175 In reading ballot, address reading comments. There should be multiple runs in a treatment session, we are considering to group multiple anatomically solid sites in a group that can be delivered in a run (or group). - Sup 177 – Dose Objects (for PC) - Dose CID revised - Discussed modeling of RT Dose Image, RT Dose Metric and RT Dose Sample, finalized structural scheme that is similar to multi-frame scheme, but added a library on the top level to share common info among referenced dose items. 8 uses cases ranging from single RADSET dose to multi-modality dose objects were brainstormed and postulated on Wednesday (12/5/2018), three uses cases were virtually tested and found doable. - Yulong will ask Monte Carlo dose algorithm, if physical or effective or can be both. done - A Dose Context UID that is shared among dose constituents servers as a unique identifier for a dose entity, defined by mentioned dose constituents that may have been represented in different forms such as different resolutions, dimensions and extensions. - Worked on CP RT 131 (1st gen) - Beam dose specification point is retired, we will have to check with brachytherapy group to see if they need this tag. - Discussed RT DOSE METRICS - Multi-energy CT SUP188 (WG-06), Yulong will read it and report back to WG-07, make a few slides on Multi-energy CT and its use in dose calculation for ion beams, Yulong will lead the TCON on this topic, invite people on this t-con, (time frame, Luiza will send out doodle) |
| Issues for AAPM: | NONE |
| Budget Request ($): | $450.38 |